## PdM Matrix
Predictive Maintenance Failure Mode Matrix
Process
Equipment/Asset Description
No | Component Failure Mode | Failure Mechanism | # Occurences | % | Effect/ Impact $ | Cumm $ Impact | $ Impact Rank | Safety Impact | Potential Cause | Existing Detection Capabilities | Potential Detection Capabilities | Data source/store | Predictive Mode | Potential Model Type | Impact Score | Readiness Score | Heat | Actions/Comments
| Failure Mode 1 |  | 146 | 35.18% | 1345 | 196370 | 4
| Failure Mode 2 |  | 80 | 19.28% | 2586 | 206880 | 3
| Failure Mode 3 |  | 65 | 15.66% | 45000 | 2925000 | 1
| Failure Mode 4 |  | 34 | 8.193% | 5600 | 190400 | 5
| Failure Mode 5 |  | 28 | 6.747% | 250 | 7000 | 9
| Failure Mode 6 |  | 21 | 5.06% | 17500 | 367500 | 2
| Failure Mode 7 |  | 15 | 3.614% | 6750 | 101250 | 8
| Failure Mode 8 |  | 9 | 2.169% | 500 | 4500 | 10
| Failure Mode 9 |  | 5 | 1.205% | 500 | 2500 | 12
| Failure Mode 10 |  | 3 | 0.7229% | 45000 | 135000 | 7
| Failure Mode 12 |  | 2 | 0.4819% | 95000 | 190000 | 6
| Failure Mode 11 |  | 2 | 0.4819% | 1500 | 3000 | 11
| Failure Mode 13 |  | 2 | 0.4819% |  | 0 | 13
| Failure Mode 14 |  | 1 | 0.241% |  | 0 | 13
| Failure Mode 15 |  | 1 | 0.241% |  | 0 | 13
| Failure Mode 16 |  | 1 | 0.241% |  | 0 | 13
| Failure Mode 17 |  | 0 | 0% |  | 0 | 13
| Failure Mode 18 |  | 0 | 0% |  | 0 | 13
| Failure Mode 19 |  | 0 | 0% |  | 0 | 13
| Failure Mode 20 |  | 0 | 0% |  | 0 | 13
Totals |  |  | 415 |  |  | 4329400

## PdM Matrix Pump
Predictive Maintenance Failure Mode Matrix
| Process | Industrial Water Supply | [5 empty] | Date
| Equipment/Asset Description | Cooling Tower Pump | [5 empty] | Done By
| Function | Provide temperature control to room (75°F & 1000GPM) | [5 empty] | Rev
No | Component Failure Mode | Failure Mechanism | # Occurences | % | Effect/ Impact $ | Cumm $ Impact | $ Impact Rank | Safety Impact | Potential Cause | Existing Detection Capabilities | Potential Detection Capabilities | Data source/store | Predictive Mode | Potential Model Type | Impact Score | Readiness Score | Heat | Actions/Comments
5 | No Water | Pump failure | 23 | 9.623% | 25000 | 575000 | 1 | 2 |  | Flowmeter | Flowmeter | Historian - E | Failure |  | 9 | 8 | 4.8832
1 | Water greater than 75°F | Pump degraded, fan not starting | 128 | 53.56% | 2500 | 320000 | 2 | 1 |  | None | Temp sensor | Historian - F | Failure |  | 8 | 4 | 2.7176
2 | Water less than 75°F | Fan will not turn off | 80 | 33.47% | 2500 | 200000 | 3 | 1 |  | None | Temp sensor | Historian - F | Failure |  | 7 | 4 | 1.6985
4 | No Water | Broken Pipe | 3 | 1.255% | 25000 | 75000 | 4 | 2 |  | Flowmeter | Flowmeter | Historian - E | N/A |  | 4 | 8 | 0.63694
3 | Less than 1000 GPM | Worn Impeller | 5 | 2.092% | 1500 | 7500 | 5 | 1 |  | None | Inlet/Outlet Pressure | Historian - F | RUL |  | 3 | 3 | 0.063694
Totals |  |  | 239 |  |  | 1177500
Note on M7: E: Existing Data Source - score 5-9 F: Future Data Source - score 1-5

## Pump Priority Matrix
Example of a Priority Matrix for a Cooling Tower Pump
Nice to have
Discard (Don't bother)
Do Now
Plan IoT Implementation
5
1
2
4
3